## ITEM 1620 MISC.: FIBER OPTIC CABLE, 144 STRAND

in addition to the requirements of supplemental specification 1620, The Contractor shall provide all materials required for the installation of the specified communications cables. the 144-strand cable shall be corning part number 144eu4-t4701d20. splicing of the cable in the splice enclosure shall be paid for under item 1620 fiber optic fusion splice. 4/28/23