**ITEM 632 POWER SERVICE, AS PER PLAN**

IN ADDITION TO THE REQUIREMENTS OF 632.24, THE CONTRACTOR SHALL CONTACT THE SERVICE PROVIDER AND MAKE ARRANGEMENTS FOR THE CONNECTION OF POWER for THE traffic signal CONTROLLER CABINET. THE CONTRACTOR SHALL CONTACT THE POWER SERVICE PROVIDER A MINIMUM OF 120 CALENDAR DAYS IN ADVANCE OF THE NEED FOR POWER WITH THE ADDRESS(ES) OF THE POWER METER CABINET(S) AS PROVIDED IN THE PLANS.

POWER SHALL BE SUPPLIED BY *(choose as needed: AMERICAN ELECTRIC POWER, COLUMBUS DIVISION OF POWER, or SOUTH CENTRAL POWER COMPANY)*. Power shall be 120/240 VAC. Power service SHALL BE FROM THE APPROXIMATE LOCATION(s) AS SHOWN ON THE PLANS. CONTACT (*choose as needed: AMERICAN ELECTRIC POWER CUSTOMER SOLUTION CENTER (1-800-672-2231), COLUMBUS DIVISION OF POWER BUSINESS MANAGER (614-645-7216) or SOUTH CENTRAL POWER COMPANY BUSINESS SERVICE REPRESENTATIVE (800-282-5064))*

*Designer shall fill in this table and include in the plans.*

|  |  |  |  |
| --- | --- | --- | --- |
| INTERSECTION | INTERSECTION NUMBER | POWER METER CABINET ADDRESS | POWER SERVICE PROVIDER |
|  |  |  |  |
|  |  |  |  |

*7/1/24*