Plan Name: Click or tap here to enter text.

Plan Number: Click or tap here to enter text.

Preparer Name: Click or tap here to enter text.

# Introduction

This submittal guidance and checklist should be completed and included with the SCP as-built and engineering certification submittal. Refer to http://www.columbus.gov/stormwater for the latest version of this guidance and checklist, the Stormwater Drainage Manual (SWDM), and the template for the engineering certification. The SCP as-builts must be fully compliant with the SWDM. Acceptance of the SCP as-builts is required for release of the surety secured (SCP Bond per SWDM 4.1, AGR Bond unless site chose to obtain a SCP Bond, or the final pay requests for public improvement projects per SWDM 4.1.2.). City inspections must also be accepted.

# Follow Plan Revision Approach

Follow the plan revision approach for the SCP as-built submittal. Refer to this guidance: Storm Water Management and Sanitary Sewer Plans (CC Plans) - City of Columbus, Ohio . Additional revisions outside of the 4.2.2. survey contents are also allowed to be included within this submittal.

# File Submittals

This should be the same submittal location as used for the original plan approval. Submit SCP as-built and engineering certification submittals for private development projects to Building and Zoning Site Engineering at Engineeringinfo@columbus.gov. For public CIP projects submit to DPUDigitalSubmittal@columbus.gov.

# ☐ Timing of SCP As-built Survey (SWDM 4.2.1)

Must be after:

- Stabilization: Final stabilization of disturbed areas in and around the practice.

- Removal of Sediment: When used for sediment settling pond during construction then removal of sediment from storage areas, including the bottom of permanent pool areas.

- Removal of Temporary: Removal of the temporary riser and skimmer assembly.

- Installation of Permanent: Installation of the permanent outlet control structure.

Provide photo documentation of site conditions to demonstrate compliance with the timing of the SCP as-built. Photos should at minimum demonstrate that the site is stabilized and the practice is fully converted. See end of checklist for a template for one SCP. Copy as needed to accommodate the number of SCPs on the site. Compress photos to reduce file size before submitting checklist.

# ☐ Approved *TIFF drawings (SWDM 4.2.2)

Request approved *.TIFF drawings on file with the City of Columbus through email per the guidance in the Plan Revision submittals noted earlier. GIS Map Room email: DPU_GIS_MAPPING@COLUMBUS.GOV (SWDM 4.2.2).

# ☐ Redline Mark-ups (SWDM 4.2.2) and Check Marks when No Deviation

Perform the redline mark-ups on the approved *.TIFF drawings that include the label “for Stormwater Control Practice As-Built”. (SWDM 4.2.2). If a required SCP as-built survey content has no changes, then add a red check mark adjacent to the item to indicate that it was indeed surveyed with no deviations.

# ☐ Direct Supervision of Ohio PS (SWDM 4.2.2)

Information shall be collected by, or under the direct supervision of, a licensed surveyor registered in the State of Ohio. (SWDM 4.2.2)

# ☐ SCP As-built Survey Contents (SWDM 4.2.2) / ☐ Plan Revision

- ☐ Inlet/Outlet Location & Type

  - catch basins,

  - maintenance holes,

  - headwalls,

  - inlets,

  - standpipes,

  - level spreaders

  - and spillways.

- ☐ Inlet/Outlet Invert Elevations

  - inlet and outlet structures;

  - orifice plate openings;

  - weirs;

  - and pipes,

  - including underground storage chambers

  - and underdrains located within the perimeter of the control practice

- ☐ Underground SCP Sizes and Material of Pipes / ☐ Not Applicable

  - underground storage chambers

  - and underdrains associated with the control practice;

  - orifice plate openings;

  - weir openings;

  - grate openings;

  - and window openings that comprise the stormwater control practice.

- ☐ Inlet/Outlet Top of Casting Elevations

  - catch basins,

  - maintenance holes,

  - headwalls,

  - inlets,

  - standpipes that comprise the stormwater control practice

- ☐ Embankments & Level Spreader Crests Elevations / ☐ Not Applicable

- ☐ Cross Sections of Spillways, Weirs, and Open Channels that Enter/Exit SCP / ☐ Not Applicable

- ☐ Above-ground SCP Topography & Storage Volume / ☐ Not Applicable

  - Including below the normal pool

  - Include, but are not limited to: green roofs, blue roofs and above-ground storage components of bioretention facilities

- ☐ Underground SCP Topography & Storage Volume / ☐ Not Applicable

  - Include, but are not limited to: underground detention facilities, storage layers for pervious pavement systems bioretention facilities and underground cisterns.

  - This information must be obtained before the underground components and storage areas are buried.

- ☐ Location & Material of SCP Inlet/Outlet Energy Dissipation Systems / ☐ Not Applicable

- ☐ Location & Size of Impervious Reduction Areas / ☐ Not Applicable

- ☐ List of Planted Vegetation / ☐ Not Applicable

  - Plant species

  - Number provided

- ☐ Updated Stormwater Management Report (Deviations that Change Calculations) / ☐ Not Applicable

  - Redline of report and summary tables. Provide updated model results and computations.

# ☐ SCP Engineer Certification (SWDM 4.2.3)

The Professional Engineer shall include a signed and sealed Stormwater Control Practice As-built Certification form, available at http://www.columbus.gov/stormwater, with the as-built survey drawings.

# ☐ Updated SCP Maintenance Plan (SWDM 4.3.2) / ☐ Not Applicable

SCP Maintenance plans shall be updated after construction of the SCP to reflect any changes made to the original design during construction. The updated SCP Maintenance Plan shall be submitted with the SCP as-built and completed engineering certification form. For plan revisions, follow separate plan revision submittal guidance.

# ☐ File Naming and Type

- Checklist: Name the checklist with the naming convention of the plan number (e.g., CC##### format) “_SCP_AB_Checklist” at the end.

- TIFF: Name the SCP as-built TIFF images file names follow the naming convention of the plan number (e.g., CC##### format), sheet number, and “_SCP_AB” at the end. TIFF files should be 300 or 400 dpi, CCITT T.6 format AKA Group 4 Fax Encoding (same as the original submitted sheets).

- Certification: Name the SCP as-built engineering certification (PDF file type preferred) with the plan number (e.g., CC##### format) and “_SCP_EC.”

- Support Documentation: Any supporting calculations / documentation, if required, should also be submitted within one compiled file (PDF file type preferred) and name the file with the plan number and “_SCP_AB_Support_Doc or SCP_AB_[specific supporting document]”

- Redlined Stormwater Management Report: Any revised Stormwater Management Report, should also be submitted within one compiled file (PDF file type preferred) and name the file with the plan number and “_SCP_AB_SWMR”

- Updated SCP Maintenance Plan: Any updated SCP Maintenance Plan, should also be submitted within one compiled file (PDF file type preferred) and name the file with the plan number and “_SCP_AB_MP”

# Requesting SCP As-Built Records

The requirement for SCP as-builts and engineering certification first appeared in the 2021 SWDM. The files are saved within the “Storm Services” folder until the start of 2026 where the process changed to be in alignment with the Plan Revision process. In any event, it is important that when making requests for records to be specific in the request. If the site would like the reports, SCP as-builts (pre-2026), SCP Maintenance Plans, or supporting documents submitted for the project, then make sure to request those specifically in addition to the past approved plans.

# Photo Documentation of Site Conditions at Time of SCP As-builts

SCP ID: Click or tap here to enter text. 	Plan Name: Click or tap here to enter text. 			Plan Number: Click or tap here to enter text.

| 1. Click or tap here to enter text. | 2. Click or tap here to enter text. |
| --- | --- |
| 3. Click or tap here to enter text. | 4. Click or tap here to enter text. |